## CLR quotation
Consolidated Cost Summary
A | Site Management Team
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Site Head (GM) | Nos | 1 |  |  |  |  | 1
2 | Sr. Manager (Mechanical) | Nos | 1 |  |  |  |  | 1
3 | Sr. Manager (Electrical) | Nos | 1 |  |  |  |  | 1
4 | Sr. Manager (Civil) | Nos | 1 |  |  |  |  | 1
5 | HSE & Compliance Manager | Nos | 1 |  |  |  |  | 1
6 | HR Manager | Nos | 1 |  |  |  |  | 1
7 | MIS Executive | Nos | 1 |  |  |  |  | 1
8 | Materials Manager | Nos | 1 |  |  |  |  | 1
A | Sub Total A | [6 empty] | 8
B | SCADA & Helpdesk Team
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Desk Engineer (SCADA) | Nos | 0 | 1 | 1 | 1 | 1 | 4 | 0
2 | Help Desk Executive | Nos | 0 | 1 | 1 | 1 | 1 | 4 | 2
B | Sub Total B | [6 empty] | 8
C | Mechanical & HVAC Team
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Asst. Manager | Nos | 1 |  |  |  |  | 1
2 | Shift Engineer | Nos |  | 1 | 1 | 1 | 1 | 4
3 | Sr Technician | Nos |  | 1 | 1 | 1 | 1 | 4
4 | Technician | Nos | 1 | 6 | 6 | 5 | 3 | 21
5 | Tech Associate Mech. | Nos | 2 | 3 | 3 | 2 | 1 | 11
7 | PM Technician HVAC | Nos | 2 |  |  |  |  | 2
8 | Fitter Mechanical | Nos | 1 |  |  |  |  | 1
9 | WTP/STP Chemist | Nos | 1 |  |  |  |  | 1
10 | WTP Operator | Nos |  | 1 | 1 | 1 | 1 | 4
11 | STP Operator | Nos |  | 1 | 1 | 1 |  | 3
12 | WTP/STP Helper | Nos |  | 1 | 1 | 1 | 1 | 4
C | Sub Total C | [6 empty] | 56
D | Electrical Team
S. No. | Description | UOM | General Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Asst Manager | Nos | 1 |  |  |  |  | 1
2 | Shift Engineer | Nos | 1 | 2 | 2 | 2 | 1 | 8
3 | Sr. Technician Ops | Nos |  | 3 | 3 | 3 | 2 | 11
4 | Electrician - Ops | Nos |  | 8 | 8 | 8 | 4 | 28
5 | MST | Nos |  | 1 | 1 | 1 | 1 | 4
6 | Tech Associate Electrical | Nos |  | 4 | 4 | 3 | 3 | 14
7 | Engineer PM | Nos | 1 |  |  |  |  | 1
8 | Sr Technician PM | Nos | 1 |  |  |  |  | 1
9 | Electrician PM | Nos | 2 |  |  |  |  | 2
10 | Solar Technician | Nos |  | 1 |  |  |  | 1
Sub Total D | [7 empty] | 71
E | Fire Team
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Safety Officer | Nos | 2 |  |  |  |  | 2
2 | Supervisor | Nos |  | 1 | 1 | 1 | 1 | 4
3 | Fire Technician | Nos |  | 3 | 3 | 3 | 2 | 11
Sub Total E | [7 empty] | 17
F | Civil Team
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Civil Engineer | Nos |  | 1 | 1 | 1 | 1 | 4
2 | Supervisor Civil | Nos |  | 2 | 2 | 2 | 1 | 7
3 | Mason | Nos |  | 2 | 2 |  | 1 | 5
4 | Carpenter | Nos |  | 2 | 2 |  | 1 | 5
5 | Civil Helper | Nos |  | 5 | 4 | 2 | 2 | 13
6 | Welder | Nos | 1 |  |  |  |  | 1
7 | Civil Fitter | Nos | 1 |  |  |  |  | 1
8 | Painter | Nos |  | 2 | 2 | 1 | 1 | 6
10 | ACP & Glass | Nos | [5 empty] | 0
11 | Runway Team | Nos | 13 |  |  |  | 2 | 15
13 | Plumber | Nos |  | 4 | 4 | 4 | 2 | 14
14 | Pump Operator | Nos |  | 3 | 3 | 2 | 1 | 9
15 | Sewerman & Drainage | Nos |  | 2 | 2 | 1 | 1 | 6
16 | Stores Exe | Nos |  | 2 | 2 | 2 | 1 | 7
Sub Total F | [7 empty] | 93
G | Motor Transport
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | MT Supervisor | Nos | 1 |  |  |  | 0 | 1
2 | Motor Technician | Nos | 2 |  |  |  | 0 | 2
3 | Motor Electrician | Nos | 2 |  |  |  | 0 | 2
4 | Tyre Technician | Nos | 1 |  |  |  | 0 | 1
5 | Driver | Nos | 3
6 | Driver (For CLR Vehicles) | Nos |  | 3 | 3 | 3 | 2 | 11
Sub Total G | [7 empty] | 17
H | Landside Facilities manpower (Residential, School, Ancillary Facilties)
S. No. | Description | UOM | Genral Shift | Shift 1 | Shift 2 | Shift -3 | Reliever | Total manpower
1 | Supervisor / Engineer L | Nos |  |  |  |  | 0 | 0
2 | Technician (HVAC) L | Nos | 1 |  |  |  | 0 | 1
3 | Electrician L | Nos | 2 |  | 1 |  | 1 | 4
4 | Mason L | Nos |  |  |  |  | 0 | 0
5 | Painter L | Nos |  |  |  |  | 0 | 0
6 | Plumber L | Nos | 1 |  |  |  | 0 | 1
7 | Carpenter L | Nos |  |  |  |  | 0 | 0
8 | Sewerman & Drainage L | Nos | 1 |  |  |  | 1 | 2
9 | Helper L | Nos | 2 |  |  |  | 1 | 3
Sub Total H | [7 empty] | 11
TOTAL MANPOWER | [7 empty] | 281

## Ph-1 proposal
CLR manpower
S.No | Description | Phase-1 proposal
1 | Admin | 8
2 | Civil | 9
3 | ELV | 10
4 | Elec | 46
5 | Mech | 89
6 | Other building | 0
7 | TMT | 10
| Total | 172

## Phase-1 details
ADMIN STAFF-GVIAL
Site Management Team
S. No. | Description | Immediate requirement Ph-1
1 | Site Head (GM) | 1
2 | Sr. Manager (Mechanical) | 1
3 | Sr. Manager (Electrical) | 1
4 | Sr. Manager (Civil) | 1
5 | HSE & Compliance Manager | 1
6 | HR Manager | 1
7 | MIS Executive | 1
8 | Materials Manager | 1
A | Sub Total A | 8
CIVIL DEPLOYMENT - GVIAL
PTB
AREA/SERVICE | DESIGNATION | Immediate requirement Ph-1
| Engr | 1
0 | Supervisor Civil | 1
Mason
| Carpenter | 1
Civil Helper
| Welder | 1
| Civil Fitter | 1
Painter
Stores Exe
Total
ALS
AREA/SERVICE | DESIGNATION
| Engr | 1
| Supervisor Civil | 1
Mason
Carpenter
| Civil Helper | 2
Welder
Civil Fitter
Painter
Runway Team
Stores Exe
Total
| Grand Total | 9
ELV(BMS , FAS,PMS, PIDS & LCMS) DEPLOYMENT - GVIAL
AREA/SERVICE | DESIGNATION | Immediate requirement in Ph-1
PTB
| Engineers | 1
| Supervisior | 2
| Floor Technicians | 6
PPM Technician
Helper (Tech-Ass-ELE)
Toatl
ALS
AIRSIDE
Airside | Supervisior | 1
PPM Technician
Helper (Tech-Ass-ELE)
| Total | 10
Grand Total
ELECTRICAL DEPLOYMENT - GVIAL
AREA/SERVICE | DESIGNATION | Immediate requirement Ph-1
| Asst Manager | 1
PTB
| Shift Engineers | 2
| Floor Technicians | 7
| Substation Operators | 7
PPM Techinician (Sr)
PPM Technician
Helper (Tech-Ass-ELE)
16
ALS
Overall ALS | Shift Engineers | 2
AIRSIDE
Airside | Technicians (MST) | 4
| Ops Technicians (ELE -Ops) | 4
High Mast | High Mast Operator (Technicians) | 1
High Mast PPM (Sr Technician)
PPM Technician
Helper (Tech-Ass-ELE)
9
LANDSIDE
Landside | Sr Technicians | 4
| Technicians | 2
Helper (Tech-Ass-ELE)
MRSS (Including DG operation) | MRSS Operators (Sr Technician) | 4
| MRSS Operators (Technician) | 4
Helper (Tech-Ass-ELE)
Admin building | Technicians (ELE -Ops) | 4
HT & LT PPM | Engineer PM
HT PPM Technicians (Sr)
LT PPM Technician (Sr)
LT PPM Technician
LT PPM Technician (Solar Technician)
Helper (Tech-Ass-ELE)
| Total | 18
| Grand total | 46
MECHANICAL DEPLOYMENT - GVIAL
AREA/SERVICE | DESIGNATION | Immediate requirement in Ph-1
| Asst Manager | 1
PTB
PTB | Shift Engineers | 2
| HVAC Floor Technicians | 8
HVAC PPM Technician
Helper PPM(Tech-Ass-Mec)
| Plumbing Technican | 10
Helper (Tech-Ass-Mec)
Plumbing PPM Technican
Helper PPM(Tech-Ass-Mec)
21
AIRSIDE & Landside building
| Shift Engineers | 2
Chiller plant | HVAC Sr Technicians ( chller plant) | 4
| Helper (Tech-Ass-Mec) chiller plant | 2
RO/ firepump room | Pump Operator | 4
ATC | Technician-mech | 2
| Helper Tech Associate Mech. | 2
Admin building | Technician-mech | 3
| Helper Tech Associate Mech. | 3
| Plumbing -Tech | 3
| Helper Tech Associate Plu | 3
CFR Satelite | Pump operator | 4
WTP | WTP techinican | 4
| WTP Helper | 2
WTP/STP Chemist
| STP incharge | 1
STP | STP operator | 4
| STP helper | 4
ALS QRT | Technician-mech | 4
| Helper Tech Associate Mech. | 4
| Fitter Mechanical | 1
| Sewage pump operator | 4
| Sewerman & Drainage | 6
| Safety Officer | 1
| Helper Utility building | 1
| Total | 68
| Grand Total | 89
Landside Facilities manpower (Residential, School, Ancillary Facilties)
S. No. | Description | Immediate requirement in Ph-1
1 | Supervisor / Engineer L | 0
2 | Technician (HVAC) L | 0
3 | Electrician L | 0
4 | Mason L | 0
5 | Painter L | 0
6 | Plumber L | 0
7 | Carpenter L | 0
8 | Sewerman & Drainage L | 0
9 | Helper L | 0
Sub Total H |  | 0
Motor Transport
S. No. | Description | Immediate requirement in Ph-1
1 | Associate mgr/JM | 1
2 | Motor Technician | 1
3 | Motor Electrician | 1
4 | Tyre Technician | 1
5 | Mechanical Helper | 1
6 | Road sweeper operator | 2
7 | Paint machine operator | 1
8 | High raise machine operators 21mt& 18mt | 2
Sub Total G |  | 10